## 2017-746-In Vitro Diagnostic Me
Generated on 17.6.2026
Legislation | ESO | Reference and title Provision | Start of legal effect | Publication OJ reference | Publication Decision reference | Publication OJ date | End of legal effect | Withdrawal OJ reference | Withdrawal Decision reference | Withdrawal OJ date
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN 556-1:2024 Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 1: Requirements for terminally sterilized medical devices | 10.04.2025 | OJ L | 2025/679 | 10.04.2025
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN 556-2:2024 Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 2: Requirements for aseptically processed medical devices | 10.04.2025 | OJ L | 2025/679 | 10.04.2025
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 11135:2014 Sterilization of health-care products - Ethylene oxide - Requirements for the development, validation and routine control of a sterilization process for medical devices (ISO 11135:2014) EN ISO 11135:2014/A1:2019 | 20.07.2021 | OJ L 258 | 2021/1195 | 20.07.2021
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 11137-1:2015 Sterilization of health care products - Radiation - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 11137-1:2006, including Amd 1:2013) EN ISO 11137-1:2015/A2:2019 | 20.07.2021 | OJ L 258 | 2021/1195 | 20.07.2021
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 11137-2:2015 Sterilization of health care products - Radiation - Part 2: Establishing the sterilization dose (ISO 11137-2:2013) EN ISO 11137-2:2015/A1:2023 | 08.03.2024 | OJ L | 2024/817 | 08.03.2024
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 11607-1:2020 Packaging for terminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging systems (ISO 11607-1:2019) EN ISO 11607-1:2020/A1:2023 | 08.03.2024 | OJ L | 2024/817 | 08.03.2024
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 11607-2:2020 Packaging for terminally sterilized medical devices - Part 2: Validation requirements for forming, sealing and assembly processes (ISO 11607-2:2019) EN ISO 11607-2:2020/A1:2023 | 08.03.2024 | OJ L | 2024/817 | 08.03.2024
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 11737-1:2018 Sterilization of health care products - Microbiological methods - Part 1: Determination of a population of microorganisms on products (ISO 11737-1:2018) EN ISO 11737-1:2018/A1:2021 | 07.01.2022 | OJ L 4 | 2022/15 | 07.01.2022
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 11737-2:2020 Sterilization of health care products - Microbiological methods - Part 2: Tests of sterility performed in the definition, validation and maintenance of a sterilization process (ISO 11737-2:2019) | 20.07.2021 | OJ L 258 | 2021/1195 | 20.07.2021
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 13408-1:2024 Aseptic processing of health care products - Part 1: General requirements (ISO 13408-1:2023) | 09.10.2024 | OJ L | 2024/2625 | 09.10.2024
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 13408-6:2021 Aseptic processing of health care products - Part 6: Isolator systems (ISO 13408-6:2021) | 07.01.2022 | OJ L 4 | 2022/15 | 07.01.2022
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 13485:2016 Medical devices - Quality management systems - Requirements for regulatory purposes (ISO 13485:2016) EN ISO 13485:2016/AC:2018 EN ISO 13485:2016/A11:2021 | 07.01.2022 | OJ L 4 | 2022/15 | 07.01.2022
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 14971:2019 Medical devices - Application of risk management to medical devices (ISO 14971:2019) EN ISO 14971:2019/A11:2021 | 12.05.2022 | OJ L 135 | 2022/729 | 12.05.2022
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 15223-1:2021 Medical devices - Symbols to be used with information to be supplied by the manufacturer - Part 1: General requirements (ISO 15223-1:2021) | 07.01.2022 | OJ L 4 | 2022/15 | 07.01.2022 | 17.06.2031 | OJ L | 2026/1313 | 17.06.2026
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 15223-1:2021 Medical devices - Symbols to be used with information to be supplied by the manufacturer - Part 1: General requirements (ISO 15223-1:2021) EN ISO 15223-1:2021/A1:2025 | 17.06.2026 | OJ L | 2026/1313 | 17.06.2026
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 17511:2021 In vitro diagnostic medical devices - Requirements for establishing metrological traceability of values assigned to calibrators, trueness control materials and human samples (ISO 17511:2020) | 07.01.2022 | OJ L 4 | 2022/15 | 07.01.2022
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 17665:2024 Sterilization of health care products - Moist heat - Requirements for the development, validation and routine control of a sterilization process for medical devices (ISO 17665:2024) | 30.01.2026 | OJ L | 2026/197 | 30.01.2026
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 18113-1:2024 In vitro diagnostic medical devices - Information supplied by the manufacturer (labelling) - Part 1: Terms, definitions, and general requirements (ISO 18113-1:2022) | 30.01.2026 | OJ L | 2026/197 | 30.01.2026
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 18113-2:2024 In vitro diagnostic medical devices - Information supplied by the manufacturer (labelling) - Part 2: In vitro diagnostic reagents for professional use (ISO 18113-2:2022) | 30.01.2026 | OJ L | 2026/197 | 30.01.2026
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 18113-3:2024 In vitro diagnostic medical devices - Information supplied by the manufacturer (labelling) - Part 3: In vitro diagnostic instruments for professional use (ISO 18113-3:2022) | 30.01.2026 | OJ L | 2026/197 | 30.01.2026
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 18113-4:2024 In vitro diagnostic medical devices - Information supplied by the manufacturer (labelling) - Part 4: In vitro diagnostic reagents for self-testing (ISO 18113-4:2022) | 30.01.2026 | OJ L | 2026/197 | 30.01.2026
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 18113-5:2024 In vitro diagnostic medical devices - Information supplied by the manufacturer (labelling) - Part 5: In vitro diagnostic instruments for self-testing (ISO 18113-5:2022) | 30.01.2026 | OJ L | 2026/197 | 30.01.2026
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 20916:2024 In vitro diagnostic medical devices - Clinical performance studies using specimens from human subjects - Good study practice (ISO 20916:2019) | 09.10.2024 | OJ L | 2024/2625 | 09.10.2024
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 25424:2019 Sterilization of health care products - Low temperature steam and formaldehyde - Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 25424:2018) | 20.07.2021 | OJ L 258 | 2021/1195 | 20.07.2021 | 05.07.2023 | OJ L 170 | 2023/1411 | 05.07.2023
2017/746 - In Vitro Diagnostic Medical Devices | CEN | EN ISO 25424:2019 Sterilization of health care products - Low temperature steam and formaldehyde - Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 25424:2018) EN ISO 25424:2019/A1:2022 | 05.07.2023 | OJ L 170 | 2023/1411 | 05.07.2023